## DEI_CHN
LIST OF ELECTRICAL INSTALLATIONS AS ON 31.03.2017 UNDER THE PERVIEW OF DEI & AEI CHAMARAJANAGAR
SL. NO | FILE NO | NAME & POSTAL ADDRESS OF THE INSTALLATION | GENERATING STATIONS |  |  |  |  | MUSS |  | HT / EHT |  |  | HT MSB |  | LT MSB |  | MULTIPLEX CINEMA/PT/SPT/TT |  | X-RAY IN NOS | NEON SIGNS IN NOS | LIFTS/ ESCALATOR/ PASSENGER CONVEYORS |  | GENERATOR SETS |  |  |  | REMARKS | PI POWERS AS PER DOP
|  |  | KPCL / PRIVATE | TYPE(HYDEL/ THERMAL/WTG/ CO GEN/ BIO MASS/ Solar/Others ) | Nos | CAPACITY IN KVA | TOTAL | 400kV/220kV/110kV/66kV/33kV/PS | No | HT / EHT | CAPACITY IN KVA | TOTAL | NO. OF FIRMS | NO. OF BLOCKS | NO. OF FIRMS | NO. OF BLOCKS | MP/PT/SPT/TT/VIDEO | NO OF SCREENS |  |  | LIFT NOS | ESCALATORS NOS | DG/TG/SOLAR | Nos | CAPACITY IN KVA | TOTAL | KPCL/KPTCL/PRIVATE/CONSUMER | ACEI/DCEI/EI/DEI/AEI
1 | CHN-1 | Sri Sanjay Kumar Jamalai, M/S Lovely Industries, No.92/3, Uttavalli village, Gundlupete Road, Chamarajanagara- 571 313 | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
2 | CHN-2 | M/s Lucky Industries, Sy No:92/3, Uttahalli Village Chamrajnagar | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
3 | CHN-3 | The Medical Officer, Government Hospital, Kollegal, Chamarajanagara Dist. | [7 empty] | 1 | 300 | 300 | [6 empty] | 1 | [7 empty] | CONSUMER | DEI
4 | CHN-4 | The Chief Officer ,Town Panchayat , Siddaianapura water supply , Hanur Hobli, Kollegal TQ | [7 empty] | 1 | 200 | 200 | [14 empty] | CONSUMER | DEI
5 | CHN-5 | M/s Vijayalaxmi Rice Mill, Basthipura Road, Kollegala | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
6 | CHN-6 | C Shanthi Prasad S/o Vardamaaniaya Sampige road ChamrajaNagar | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
7 | CHN-7 | M/s Morarji Desai Residential School, Hannr, Kollegala Tq | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
8 | CHN-8 | The Executive Officer , Sri Malle Mahadeshwara Temple, M M Hills Hanur, Kollegala | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
9 | CHN-9 | M/s White Hill Granites, Sy No:438/1, Badanaguppe, Chamarajanagara Tq.& Dist. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
10 | CHN-10 | The Manager, M/s Biligiri Granites, Mysore road, Badanaguppe Vg, Chamarajanagara Tq. & Dist | [20 empty] | DG | 1 | 180 | 180 | CONSUMER | DEI
11 | CHN-12 | The Manager, M/s Mymul - Chilling Plant, Ramasamudra, Chamarajanagara. | [7 empty] | 1 | 315 | 315 | [10 empty] | DG | 1 | 320 | 320 | CONSUMER | DEI
12 | CHN-13 | M/s Jabbar Industries, Gundlupete Main Road, Uttavalli Village, Chamarajanagara | [7 empty] | 1 | 200 | 200 | [14 empty] | CONSUMER | DEI
13 | CHN-14 | The Principal, M/s Jawahar Navodaya Vidyalaya, Hondarabalu, Chamarajanagara Tq. & Dist. | [7 empty] | 1 | 200 | 200 | [14 empty] | CONSUMER | DEI
14 | CHN-15 | Mymul Milk Products, Singanallur, Kollegal Taluk, Chamarajanagara District. | [7 empty] | 1 | 200 | 200 | [10 empty] | DG | 1 | 200 | 200 | CONSUMER | DEI
15 | CHN-16 | M/s Holy Cross Hospital, Kamagere, Kollegal Taluk, Chamarajanagar District. | [7 empty] | 1 | 315 | 315 | [8 empty] | 1 |  | DG | 1 | 160 | 160 | CONSUMER | DEI
16 | CHN-17 | M/s Janani Hospital ,No:29A & 19A, Southern Extension , Basaweshwaranagar, Kollegala Tq | [7 empty] | 1 | 300 | 300 | [10 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
17 | CHN-18 | Government Hospital, Yelandur, Chamarajanagara District. | [7 empty] | 1 | 200 | 200 | [6 empty] | 1 | [7 empty] | CONSUMER | DEI
18 | CHN-19 | The Proprietor, Anjaman E. Islam Main road, Kollegal, Chamarajanagara District. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
19 | CHN-20 | The Proprietor, Actgal Yathri Nivasa, Near Bus stand, Kollegal, Chamarajanagara District. | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 45 | 45 | CONSUMER | DEI
20 | [22 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
21 | CHN-21 | Sri G Nijagunaraju, M/s Nijaguna Residency, No:2883/2883, K N road, Ch nagar | [7 empty] | 1 | 315 | 315 | [10 empty] | DG | 1 | 180 | 180 | CONSUMER | DEI
22 | CHN-22 | The Chief Executive Officer, Town Muncipal Council, Tagalur Water Works, Begur, Gundlupet Taluk, Chamarajanagara District. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
23 | CHN-23 | The Medical Officer, Govt. Hospital Gundlupet, Chamarajanagara District. | [7 empty] | 1 | 100 | 100 | [6 empty] | 1 | [7 empty] | CONSUMER | DEI
24 | CHN-24 | Morarji Desai Residential School, Yadavanahalli Vg, Begur, Gundlupet, Chamarajanagara District. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
25 | CHN-25 | The Taluk Welfare officer, Chamarajanagara Site at :Morarji Desai residential school, Ummathanoor, Chamarajanagara | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
26 | CHN-26 | Sri Takeerulla Shariff, M/s A.N.Granites,Saragur Village, Chamarajanagara | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
27 | CHN-27 | The Manager, M/s Jungle Lodges and Resorts Ltd., Melukamanahalli, Hangla Post, Bandipura, Gundlupet Taluk, Chamarajanagara District. | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 100 | 100 | CONSUMER | DEI
28 | CHN-28 | M/s Tuskar Trials , Wild Resort, Managala Vg, Bandipura,Gundlupete | [7 empty] | 1 | 160 | 160 | [10 empty] | DG | 1 | 125 | 125 | CONSUMER | DEI
29 | CHN-29 | M/s Country Club, Managala Village, Gundlupet Tq | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 125 | 125 | CONSUMER | DEI
30 | CHN-30 | Sri Venkateshwar Hatcharies, Kamarahalli Vg, Thondavadi Post, Begur Hobli. Gundlupet Tq | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
31 | CHN-31 | M/s JSS MVP Rudset Training Centre & SKKY & ITC Block,Mariyala Village,Chamarajanagara | [7 empty] | 1 | 250 | 250 | [10 empty] | DG | 1 | 100 | 100 | CONSUMER | DEI
32 | CHN-32 | The Divisional controller, KSRTC Chamarajanagara | [7 empty] | 1 | 250 | 250 | [10 empty] | DG | 1 | 125 | 125 | CONSUMER | DEI
33 | [22 empty] | DG | 1 | 110 | 110 | CONSUMER | DEI
34 | CHN-33 | Morarji Desai Residential School, Gundlupet, Chamarajanagara District. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
35 | CHN-34 | M/s Chiranth Rice Mill, APMC Road , Kollegala | [7 empty] | 1 | 250 | 250 | [10 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
36 | CHN-35 | The Commissioner CMC, Kollegala Taluk (Head Water Works), Dasanapura Vg, Kollegala. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
37 | CHN-36 | The Commissioner, CMC, (Pumping station), Dr Rajkumar road, Kollegala | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
38 | CHN-37 | Sri G.Nagendra S/O R Govindarajalu shetty, M/S Sri Varu Rice Mill, Kollegala | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
39 | CHN-38 | M/s Ayurvedic Centre,Karuna Trust,V.G.K Premisis, B.R.Hillls,Yalandur Taluk | [7 empty] | 1 | 200 | 200 | [10 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
40 | CHN-39 | M/s R K Hospital, B R Hills double road, Chnagar | [7 empty] | 1 | 100 | 100 | [6 empty] | 1 |  |  |  | DG | 1 | 35 | 35 | CONSUMER | DEI
41 | CHN-40 | M/s Ugma enterprises, Badanaguppe Chn | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
42 | CHN-41 | The Managing Director, Mysore Chn dist Co op Milk producers union Ltd, Mysore site at Manachanahalli (Fodder Densification plant) | [7 empty] | 1 | 200 | 200 | [14 empty] | CONSUMER | DEI
43 | CHN-42 | The Secretory, Sri. Male Mahadeshwar temple development Authority, KUWS treatment plant at M.M Hills, Hanur. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
44 | CHN-43 | the Social welfare officer, kollegal, Kittur Rani Chennamma school thimmarajapura kollegal | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
45 | CHN-44 | the Social welfare officer, kollegal, Morarji Desai Residential school thimmarajapura kollegal | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
46 | CHN-45 | The Secretory, Sri Male Mahadeshwara Temple development Authority, Male Mahadeshwara Hills, Hanur(Adipalar) | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
47 | CHN-46 | The Secretory, Sri Male Mahadeshwara Temple development Authority, Male Mahadeshwara Hills, Hanur(Kokkarehalla bridge ) | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
48 | CHN-47 | Morarji Desai Residential school, Terakanambi, gundlupet | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
49 | CHN-48 | M/s Sathyam Industries, as no:674/718, Mariyala bedrapura road, Mariyala, Chn | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
50 | CHN-49 | M/s YRK enterprises, Sy No:42, Devarajpura Vg, Chanadakawadi, Chn | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
51 | CHN-50 | M/s Hotel Pathan's (Hotel Sastrapuri Resort), Gundlupet, Chamarajanagara Dist. | [20 empty] | DG | 1 | 75 | 75 | CONSUMER | DEI
52 | CHN-51 | M/s Caffe Coffee Day, Mysore- Ooty Road, Gundlupet Taluk | [20 empty] | DG | 1 | 63 | 63 | CONSUMER | DEI
53 | CHN-52 | M/s Hindustan Industries, Panjamanahally, Ooty Main Road, Gundlupet Taluk, Chamarajanagara. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
54 | CHN-53 | The Secretory, Sri Male Mahadeshwara Temple development Authority, Sri Shaila Dharshini, M.M.Hills, Kollegala Tq | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
55 | CHN-54 | The Secretory, Sri Male Mahadeshwara Temple development Authority, Dhasoha Bavana,M.M.Hills,Kollegala Tq | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
56 | CHN-55 | The Manager, M/s Simha Coconut Industries, Mysore Nanajangud road, Chamarajanagara Dist. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
57 | CHN-56 | M/s Premier Coconut, Products, Madalapura, Gundlupet Road, Chamarajanagara. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
58 | CHN-57 | M/s Axis Bank Ltd Mahaveer Mansion , Sampige road Chamarajanagar | [20 empty] | DG | 1 | 82.5 | 82.5 | CONSUMER | DEI
59 | CHN-58 | M/s Biligiri Ranganatha Rice Mill ,Amble Village , Yalandur Taluk, Chamarajanagara | [20 empty] | DG | 1 | 70 | 70 | CONSUMER | DEI
60 | CHN-59 | M/s Yestay Coffee Curing Works (P) Ltd., Begur, Gundlupet Taluk. | [20 empty] | DG | 1 | 125 | 125 | CONSUMER | DEI
61 | CHN-60 | M/s TANA Charitable trust, Q village, odeyarapalya, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 63 | 63 | CONSUMER | DEI
62 | CHN-61 | The Depot Manager, KSRTC, Gundlupet depo, Gundlupet. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
63 | CHN-62 | M/s Vasavi Mahal, Ramakrisha Paramahansa road, Southern Extn, Kollegal. | [20 empty] | DG | 1 | 50 | 50 | CONSUMER | DEI
64 | CHN-63 | The Depot Manager, KSRTC Depo, Kollegal., | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
65 | CHN-64 | M/s Sapthagiri Industries, ACF Office Road, Behind, Muradi Hills, Kollegala. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
66 | CHN-65 | M/s Chikkahole Reservoir, Attagulipura, Chamarajanagara. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
67 | CHN-66 | M/s Sri Silks, Kollegala Town, Chamarajanagara Dist. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
68 | CHN-67 | M/s Suvarnavathi Reservoir Project, Attugulipura, Chamarajanagara Dist. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
69 | CHN-68 | M/s Ranganatha Kalyana Mantapa, Deviation Road, Chamarajanagara Town. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
70 | CHN-69 | M/s Roopa Engineering Corporation, Calicut Road, Gundlupet. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
71 | CHN-70 | M/s Sri. Venkateshwara Coconut Products, Vijayapura, Gundlupet. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
72 | CHN-71 | M/s A.S. Venkodaramashetty, Atcnam's Lodge, Kollegala. | [20 empty] | DG | 1 | 45 | 45 | CONSUMER | DEI
73 | CHN-72 | M/s Yes Pi Yes Textiles, Kollegala, Chamarajanagara Dist. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
74 | CHN-73 | M/s LIC of India, Kollegala, Chamarajanagara Dist. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
75 | CHN-74 | M/s GTL Infrastructure Ltd., Heggola Village, Chamarajanagar Taluk | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
76 | CHN-75 | M/s GTL Infrastructure Ltd., Begur Village, Gundlupet Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
77 | CHN-76 | M/s GTL Infrastructure Ltd., Amachavadi, Chamarajanagar Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
78 | CHN-77 | M/s GTL Infrastructure Ltd., Gowdahally, Yelandur Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
79 | CHN-78 | M/s GTL Infrastructure Ltd., Chamarajanagar Tq | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
80 | CHN-79 | M/s GTL Infrastructure Ltd., Hanur, Kollegala Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
81 | CHN-80 | M/s GTL Infrastructure Ltd., Sagaya Village, Kollegala Taluk | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
82 | CHN-81 | M/s GTL Infrastructure Ltd., Udigala, Chamarajanagar Taluk | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
83 | CHN-82 | M/s GTL Infrastructure Ltd., Harave, Chamarajanagar Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
84 | CHN-83 | M/s Reliance Communications Ltd., Madhuvanahally, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
85 | CHN-84 | M/s Reliance Communications Ltd., Doddindavadi, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
86 | CHN-85 | M/s Reliance Communications Ltd., Telur, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
87 | CHN-86 | M/s Reliance Communications Ltd., Bendaravadi, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
88 | CHN-87 | M/s Reliance Communications Ltd., PG Palya, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
89 | CHN-88 | M/s Reliance Communications Ltd., Odayanapalya, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
90 | CHN-89 | M/s Reliance Communications Ltd., Suralipalya, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
91 | CHN-90 | M/s Reliance Communications Ltd., Ajjipura, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
92 | CHN-91 | M/s Reliance Communications Ltd., Marathahally, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
93 | CHN-92 | M/s Reliance Communications Ltd., Rampura, Kollegal Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
94 | CHN-93 | M/s Reliance Communications Ltd., Ummathur, Chamarajanagar Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
95 | CHN-94 | M/s Reliance Communications Ltd., Mangala, Chamarajanagar Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
96 | CHN-95 | M/s Reliance Communications Ltd., Nagavalli, Chamarajanagar Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
97 | CHN-96 | M/s Reliance Communications Ltd., Hebbasar, Chamarajanagar Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
98 | CHN-97 | M/s Reliance Communications Ltd., Yaraganahally, Yelandur Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
99 | CHN-98 | M/s Reliance Communications Ltd., Kesthur, Yelandur Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
100 | CHN-99 | M/s Reliance Communications Ltd., Begur, Gundlupet Tq. | [20 empty] | DG | 1 | 37.5 | 37.5 | CONSUMER | DEI
101 | CHN-100 | M/s GTL Infrastructure Ltd., Kollegala Tq | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
102 | CHN-101 | M/s GTL Infrastructure Ltd., Yeragamballi, Yelandur Tq. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
103 | CHN-102 | M/s GTL Infrastructure Ltd., Chamarajanagar Tq | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
104 | CHN-103 | M/s DZO GCHEN Buddist Monstary Temple Tibetian settlement Odeyara Palya,Kollegala Tq | [20 empty] | DG | 1 | 50 | 50 | CONSUMER | DEI
105 | CHN-104 | M/s YEPIYES Automobiles, Kollegal Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
106 | CHN-105 | M/s GTL Infrastructure Ltd,#61/1 Katha #54 Ramapura MM Hills Kollegala Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
107 | CHN-106 | M/s GTL Infrastructure Ltd,#414 Katha #3/31 Madhuvana Halli Kollegala Taluk | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
108 | CHN-107 | M/s GTL Infrastructure Ltd,#599 Ummathur ChamarajaNagar | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
109 | CHN-108 | M/s GTL Infrastructure Ltd,#577/1 ,#577/2 ,Katha #1081 Mangala Village ChamarajaNagar | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
110 | CHN-109 | M/s GTL Infrastructure Ltd,#60/3 Khata #72 Kaggalla Village Terakanambi Hobli Gundlupet | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
111 | CHN-110 | M/s GTL Infrastructure Ltd,Site#6/1 ,Mnicipal #10,Honagoor ChamarajaNagar | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
112 | CHN-111 | M/s GTL Infrastructure Ltd,R GunaShekar S/o Ramachandra Shetty AjjiPura Village post Kollegala Taluk ChamarajaNagar | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
113 | CHN-112 | M/s GTL Infrastucture Ltd, No.1,Tellanur Village,Tellanur Post,Kollegal Taluk ,Chamaraja Nagar | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
114 | CHN-113 | M/s GTL Infrstructure Ltd,No40/5,Bommanahalli village, Gundulpet Taluk Chamarajanagar | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
115 | CHN-114 | M/s Indus Towers Ltd , Hangala village, Gundlupet Tq. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
116 | CHN-115 | M/s GTL Infrasturcture Ltd, No.714, Khata No.706, Chandakawadi Village, Chamarajanagara | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
117 | CHN-116 | M/s GTL Infrastucture Ltd, No.264/1, Kothalvadi Village,Chamarajanagara | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
118 | CHN-117 | Sri Dasharatha Shetty, M/S Venkateshwara Kalyana Mandir,Gullanpet town | [20 empty] | DG | 1 | 45 | 45 | CONSUMER | DEI
119 | CHN-118 | 1X30KVA DG set at M/s JSS Anubhava mantapa, Gundlupet | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
120 | CHN-119 | 1x30KVA DG set at M/s Axis Bank Ltd, Kollegala | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
121 | CHN-120 | Sri K Mahadevanaika S/o Late Karinaika,Kushi resorts, gundlupet Chn | [20 empty] | DG | 1 | 45 | 45 | CONSUMER | DEI
122 | CHN-121 | Sri P K Faisal Ahamad, Misty Rock hotel, Gundlupet | [12 empty] | 1 | 1 |  |  |  |  | 1 |  | DG | 1 | 63 | 63 | CONSUMER | DEI
123 | [22 empty] | DG | 1 | 15 | 15 | CONSUMER | DEI
124 | CHN-122 | Shanthi Nursing Home, Southern Extension, Kollegala, Chamarajanagara Dist. | [16 empty] | 1 | [7 empty] | CONSUMER | DEI
125 | CHN-123 | The Taluk Social Welfare Officer (Ekalavya Residencial School), Kollegal, Chamarajanagar district | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
126 | CHN-124 | The Divisional Mechanical Engineer, K.S.R.T.C Bus station, Saththy Road, Chamarajanagar. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
127 | CHN-125 | Sri. M.C. Mallikarjuna, M/s Lakshmi stone crusher Industry, Arepura village, begur. | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
128 | CHN-126 | Sri. N. Mallesh S/o Late Naganaika, Mysore- Ooty road, Hongirana Complex, Gundlupet | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
129 | CHN-127 | The principal government Tool room and Training centre, TAPCMS building, behind Tahsildhar office, Gundlupet-571111. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
130 | CHN-128 | Sri. Murthy, Malai Exports, Sy No: 88/3,4 & 5, Dasanur road, Badanaguppe village, Chamarajanagar. | [7 empty] | 1 | 315 | 315 | [10 empty] | DG | 1 | 125 | 125 | CONSUMER | DEI
131 | CHN-129 | Sri. Puttaranga nayaka S/o Late Maranayaka, (Nijaguna resorts) Panjanahalli limits, Mysuru-Ooty road, Gundlupet town, Gundlupet, Chamarajanagar district. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
132 | CHN-130 | Sapthagiri industries, Madhuvanahalli village, Kollegal taluk, chamarajnagar. | [7 empty] | 1 | 250 | 250 | [10 empty] | DG | 1 | 160 | 160 | CONSUMER | DEI
133 | CHN-131 | Sri. D. Sachchidananda, M/s Sri. Veerabadreshwar Turing talkies, Changadarahalli village, Ramapura Hobli, Kollegal taluk, chamarajanagar district. | [14 empty] | TT | 1 |  |  |  |  | DG | 1 | 15 | 15 | CONSUMER | DEI
134 | CHN-132 | M/s Prestige Rock(Granite) Industries, No:33, Ass N0:339/2, Bedarapura village, chamarajanagar district. | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
135 | CHN-133 | M/s Yuvaraja industries, Yellemala village, hanur hobli, kollegala taluk, chamarajanagar district. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
136 | CHN-134 | M/s Sri. Laxmi venkateshwar stone crushers, herikati village, gundlupet taluk, chamarajanagar district. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
137 | CHN-135 | SRI. A. SRIGIRI S/O V. ANANTHKUMAR, ASST NO. 148/2, JANJAR NO.148, KUDLUR VILLAGE PANCHAYATH, CHAMARAJANAGAR DISTRICT. | [20 empty] | DG | 1 | 30 | 30 | CONSUMER | DEI
138 | CHN-136 | M/s SRI. BHRAMARAMBA KALYANA MANTAP, MYSORE ROAD, KOLLEGALA, CHAMARAJANAGAR DISTRICT. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
139 | CHN-137 | M/s RELIANCE CORPORATE IT PARK LTD., NO.07-454A, NEXT TO S.B.M. NEW BUS STAND ROAD, KOLLEGALA, CHAMARAJANAGAR DISTRICT. | [20 empty] | DG | 1 | 82.5 | 82.5 | CONSUMER | DEI
140 | CHN-138 | THE PRINCIPAL, S.C. KITTUR RANI CHENNAMMA RESIDENTIAL SCHOOL, SY NO. 46, BEGUR HOBLI, GUNDLUPET TALUK, CHAMARAJANAGAR DISTRICT. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
141 | CHN-139 | SMT. N. SADIYA HALEEMA D/O ABDUL WAJID, M/S FIRDOS GRANITE INDUSTRIES, YADAPURA VILLAGE, CHAMARAJANAGAR TALUK AND DISTRICT. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
142 | CHN-140 | THE PRINCIPAL, MOORARJI DESAI RESIDENTIAL SCHOOL, HANGALA MELUKAMANAHALLI VILLAGE, GUNDLUPET TALUK, CHAMARAJANAGAR DISTRICT. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
143 | CHN-141 | THE ASSISTANT DIRECTOR, KANNADA & CULTURAL DEVELOPMENT( RANGA MANDIRA), DC OFFICE PREMISES, CHAMARAJANAGAR | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
144 | CHN-142 | M/s BHOOPALAM INDUSTRIES, SATHEGALA VILLAGE, KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
145 | CHN-143 | The Assistant executive Engineer, PWD-1 Sub division, Chamarajanagar | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
146 | CHN-144 | SMT. ROOPA,NANDHI BHAVANA,BEHIND LIC OFFICE, NEW PRIVATE BUS STAND ROAD, CHAMARAJANAGAR. | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 82.5 | 82.5 | CONSUMER | DEI
147 | CHN-145 | The Manager, Sericulture Grainites, Double road, Chamarajanagar | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
148 | CHN-146 | Sri Manohar Lal Jain, Sri Magna Site Industry, Hirikati village, Begur Hobli, Gundulpet Tq, Chamarajanagara Dt. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
149 | CHN-147 | The Principal, Moorarji Desai Residential PU College, Hullepura Village, Kollegala taluk, Chamarajanagar district. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
150 | CHN-148 | M/s. S.S Industries, At No.239/1, Mariyala village, Chamarajanagar taluk & district. | [7 empty] | 1 | 200 | 200 | [14 empty] | CONSUMER | DEI
151 | CHN-149 | Sri. H.M. Shrikantaswamy S/o Late. H.P. Mallanna, Sri. Bhramarambha Mallikarjuna Conventional Hall, Near LIC Building, Chamarajanagar. | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 82.5 | 82.5 | CONSUMER | DEI
152 | CHN-150 | Sri. C.P Shivakumar S/o Late. M. Puttaswamy. Sathy road, Near Siddartha Theatre, Chamarajanagar. | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
153 | CHN-151 | M/s. YEPIYES FASHION PARADISE, Opp. Shimha Movies Paradise, Nanjanagud road, Chamarajanagar | [18 empty] | 1 |  | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
154 | CHN-152 | M/s Reliance Corporate IT Park Ltd., No. C318/299, Near Syndicate Bank, Agrahara Street, Chamarajanagar-571313. | [20 empty] | DG | 1 | 63 | 63 | CONSUMER | DEI
155 | CHN-153 | The Director, Chamarajanagar Institute Of Medical Science, Uthavalli Village ,Shivapura Post, Chamarajanagar Tq & Dist(Group-c, Group-D, & Doctors Building) | [18 empty] | 1 |  | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
156 | CHN-154 | The Administrative Health Officer, Community Health Centre, Santhemarahalli village & Hobli, Chamarajanagar taluk and district. | [7 empty] | 1 | 100 | 100 | [10 empty] | DG | 1 | 63 | 63 | CONSUMER | DEI
157 | CHN-155 | M/s. YEPIYES MOTORS ,# 186/2, Jalahalli hundi Extension, NH-209 Santhemarahalli raod, Chamarajagar. | [20 empty] | DG | 1 | 62.5 | 62.5 | CONSUMER | DEI
158 | CHN-156 | M/s. YEPIYES TEXTILE PARADISE, B.R.Hills road, Chamarajanagar town, Chamarajagar district. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
159 | CHN-157 | Sri. Syed Musaib Ahmed, M/s Umair Granites, Sy No 134/1, Uthavalli village, Chamarajanagar taluk and district | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
160 | CHN-158 | M/s. Reliance JIO Infocomm Ltd., Sy No.226/1, Gundlupet, Chamarajanagar road, Kasaba hobli, Gundlupet town & Taluk, Chamarajanagar district | [20 empty] | DG | 1 | 82.5 | 82.5 | CONSUMER | DEI
161 | CHN-159 | The Registrar, Karnataka State Open University, Regional Centre, Chamarajanagar district. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
162 | CHN-160 | M/s Patel & Son's Enterprises, Packaged Drinking Industry, Near Basaveshwar theatre yard, Chamarajanagar. | [7 empty] | 1 | 160 | 160 | [14 empty] | CONSUMER | DEI
163 | CHN-161 | M/S Priya Stone factory, Sy No: 108/2, Mylajipura road, Badanaguppe village, Chamarajanagara Tq/ Dt, | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
164 | CHN-162 | The Regional Transport Officer, Sy No.65, Galipura, Chamarajanagar taluk & district. | [20 empty] | DG | 1 | 125 | 125 | CONSUMER | DEI
165 | CHN-163 | The Principal, morarji Desai Residential School, Hoogyam Village, Kollegala taluk, Chamarajanagar district. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
166 | CHN-164 | Sri. Mahanathaswamygalu, Gurumalleshwar complex, Ambedkar road, Kollegala, Chamarajanagar district. | [7 empty] | 1 | 100 | 100 | [14 empty] | CONSUMER | DEI
167 | CHN-165 | M/s. Srikanteshwar Stone Crushing Industry, Hirikate village, Begur section, Gundlupet taluk, Chamarajanagar district. | [7 empty] | 1 | 250 | 250 | [14 empty] | CONSUMER | DEI
168 | CHN-166 | Sri. S. Mahendra Babu, M/s. Innas Hotel, Mahalakshmi, Opp to Bus stand Kollegala, Chamarajanagar district. | [20 empty] | DG | 1 | 45 | 45 | CONSUMER | DEI
169 | CHN-167 | Sri. H.M. Nanjundaswamy S/o Late H.L. Mallikarjunaiah," Mallikarjuna Kalyana Mantap", Santhemarahalli village, Chamarajanaga taluk & district. | [20 empty] | DG | 1 | 40 | 40 | CONSUMER | DEI
170 | CHN-A-1 | M/s HDFC Bank, No:984-950, 1st floor, R K Plaza, double road, Chn | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
171 | CHN-A-2 | The Proprietor, M/s BMP fuels, NH-212, Mysore Ooty road, Begur, Gundlupet. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
172 | CHN-A-3 | M/s Hotel Sri Guruprsad, Gundlupet | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
173 | CHN-A-4 | M/s Manager, Govt. Silk Filatures, Santemarahally, Chamarajanagara Taluk. | [20 empty] | DG | 1 | 18.5 | 18.5 | CONSUMER | AEI
174 | CHN-A-5 | M/s Oletty Shetty Hotel, Main Road, Kollegala Tq. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
175 | CHN-A-6 | M/s The President, Milk Producers Co-operative Societies Ltd., Gundlupet Taluk, Hangala, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
176 | CHN-A-7 | M/s Dhoden Ling Hospital, Vaderapalya, Kollegala Taluk, Chamarajanagara. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
177 | CHN-A-8 | M/s B. Prakash Gupta, Janardhana Hall, Kollegal. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
178 | CHN-A-9 | M/s Sri Umashankar, Kalyana Mantapa, Bastipura Road, Kollegala. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
179 | CHN-A-10 | M/s Varadaraj Silks, Shed No.2/2 - 169 - Makke Road, Kollegala. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
180 | CHN-A-11 | M/s Sri. Chowdeswari, Kalyana Mantapa, Kollegala Town. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
181 | CHN-A-12 | M/s Tana Monestery Odeyararapalya, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
182 | CHN-A-13 | M/s Secretary Milk Producers, Co-op. Society Ltd., Thommaya Palya, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
183 | CHN-A-14 | M/s Secretary Milk Producers Co-op. Societies Ltd., Kalpura, Chamarajanagara Taluk & Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
184 | CHN-A-15 | M/s Secretary Milk Producers Co-op. Societies Bandaleli, Kollegala Taluk. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
185 | CHN-A-16 | M/s Bharti Airtel Ltd., at Begur Village, Chamarajanagara Dist. | [20 empty] | DG | 1 | 10 | 10 | CONSUMER | AEI
186 | CHN-A-17 | M/s Bharti Airtel Ltd., Shivanasamudra, Kollegatal Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 10 | 10 | CONSUMER | AEI
187 | CHN-A-18 | M/s Bharti Airtel Ltd., Yelandur Road, Yaraganahalli (P), Chamarajanagara Dist. | [20 empty] | DG | 1 | 10 | 10 | CONSUMER | AEI
188 | CHN-A-19 | M/s Bharati Airtel Ltd., Site No. 1021, Ummatthur Village, Chamarajanagara Taluk & Dist. | [20 empty] | DG | 1 | 10 | 10 | CONSUMER | AEI
189 | CHN-A-20 | Bharti Airtel Ltd., Sy.No.78/4, Santhemaranahalli (V) & (H), Chamarajanagara Tq. & Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
190 | CHN-A-21 | M/s Bharti Airtel Ltd., No.404, Old Kurubara Street, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
191 | CHN-A-22 | M/s Bharti Airtel Ltd., No.221, Janjar No.221, Sathegala, Kollegala Taluk, Chamarajanagara (Dist). | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
192 | CHN-A-23 | M/s Bharti Airtel Ltd., Katha No.1688, 1414, Asst. No.561517, Old No. 05, Puttu Road, Gundlupet, Chamarajanagara Dist. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
193 | CHN-A-24 | M/s Bharti Airtel Ltd., Honganur, Santhemaranahalli (H), C.R. Nagara Tq. & Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
194 | CHN-A-25 | M/s Bharti Airtel Ltd., Agrahara Beedi, Yelandur Town, Yelandur. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
195 | CHN-A-26 | M/s Bharti Airtel Ltd., Bramaramba Extension, Chamarajanagara. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
196 | CHN-A-27 | M/s Bharti Airtel Ltd., Mangala Village, Chamarajanagara Taluk. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
197 | CHN-A-28 | M/s Bharti Airtel Ltd., Ajjipura (V), Hanur (H), Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
198 | CHN-A-29 | M/s Bharti Airtel Ltd., No.4/45, Biligirirangana Betta, Yelandur Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
199 | CHN-A-30 | M/s Bharti Airtel Ltd., Bandaalli, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 10 | 10 | CONSUMER | AEI
200 | CHN-A-31 | M/s Bharti Airtel Ltd., Koundalli, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
201 | CHN-A-32 | M/s Bharti Airtel Ltd., Khata No.40/1-40, Kongarahalli, Kollegala, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
202 | CHN-A-33 | M/s Bharati Airtel Ltd., Terakanambi, Gundlupet Taluk, Chamarajanagara. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
203 | CHN-A-34 | M/s Bharti Airtel Ltd., Muduvanahalli, Kollegal Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
204 | CHN-A-35 | M/s Bharti Airtel Ltd., Hulusagudde Bore, Kollegala Taluk, Chamarajanagara Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
205 | CHN-A-36 | M/s Bharti Airtel Ltd., Suvallipalya, Kollegala Taluk. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
206 | CHN-A-37 | M/s Milk Producer's Co-Op. Society, Terakanambi. Gundlupete Tq. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
207 | CHN-A-38 | M/s Bharati Air Tel Ltd., at Hannur, Kollegala Tq. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
208 | CHN-A-39 | M/s Hatchison Essar South Ltd., Sathegala Kollegala Taluk, Chamarajanagara. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
209 | CHN-A-40 | M/s Hatchison Essar South Ltd., Sathegola Kollegala Taluk, Chamarajanagara. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
210 | CHN-A-41 | M/s Milk Producer Co-operative Society, Padagur Gundlupet Taluk, Chamarajanagara. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
211 | CHN-A-42 | M/s Milk Producer Co-operative Society, Chichanahally Hannur, Kollegala, Chamarajanagara. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
212 | CHN-A-43 | M/s Bharti Infratel Ltd., Bendaravadi, Kollegala Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
213 | CHN-A-44 | M/s Bharti Infratel Ltd., Singanallur Kollegala Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
214 | CHN-A-45 | M/s Bharti Infratel Ltd., Sagada Village, Chamarajanagar Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
215 | CHN-A-46 | M/s Bharti Infratel Ltd., Arakalavadi, Chamarajanagar Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
216 | CHN-A-47 | M/s Bharti Infratel Ltd., Haradanahally, Chamarajanagar Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
217 | CHN-A-48 | M/s Bharti Infratel Ltd., Badanaguppe, Chamarajanagar Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
218 | CHN-A-49 | M/s Bharti Infratel Ltd., Hangala, Gundlupet Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
219 | CHN-A-50 | M/s Bharti Infratel Ltd., Ramasamudra, Chamarajanagar Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
220 | CHN-A-51 | M/s Bharti Infratel Ltd., Kadasage, Chamarajanagar Dist. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
221 | CHN-A-52 | M/s Bharti Infratel Ltd., Somahally, Gundlupet Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
222 | CHN-A-53 | M/s Xcel Telecom Pvt. Ltd., Mullur Village, Kollegala Taliuk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
223 | CHN-A-54 | M/s GTL Infrastructure Ltd., Yelandur Taluk | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
224 | CHN-A-55 | M/s GTL Infrastructure Ltd., Chamarajanagar Taluk | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
225 | CHN-A-56 | M/s GTL Infrastructure Ltd., Gundlupet Taluk | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
226 | CHN-A-57 | M/s Xcel Telecom Pvt. Ltd., Chamarajanagar Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
227 | CHN-A-58 | M/s Wireless TT Infoservices, Kempapura, Chamarajanagar Tq. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
228 | CHN-A-59 | M/s Wireless TT Infoservices, Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
229 | CHN-A-60 | M/s Wireless TT Infoservices, Gundlupet Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
230 | CHN-A-61 | M/s JSS Samudhaya Bhavana Ramapra,Hanur Hobli,Kollegala Taluk | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
231 | CHN-A-62 | M/s Wireless TT Info Services Limited No 35/11 B.R.Hills Yelandoor Taluk Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
232 | CHN-A-63 | M/s Wireless TT Info Services Limited Site No 7/1 Khata No 97 Ashwini Badavane , DundasanaPura Village Gundalpet Taluk | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
233 | CHN-A-64 | M/s Surakasha Ortho & Maternity Care , Kollegal Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
234 | CHN-A-65 | M/s Sri Pandlu Kapparaiah Charitable Trust®,No 292-297,Mari Temple Street,Kollegala. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
235 | CHN-A-66 | M/s Wireless TT Info Services Ltd #205/4 Lakkana Halli Village HandPost Kollegal Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
236 | CHN-A-67 | M/s Madhu Services Station # 134/2B SanteMaraHalli Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
237 | CHN-A-68 | M/s GTL Infrastructure Ltd,Site #36/1BendaraVadi Village Chamaraja Nagar | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
238 | CHN-A-69 | M/s GTL Infrastructure Ltd,Site#1/1 Katha #1 AttguliPura Chandakavadi Hobli ChamarajaNagar | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
239 | CHN-A-70 | M/s Vodafone Essar South Ltd #51/1 Second Block Hanoor Village Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
240 | CHN-A-71 | M/s Vodafone Essar South Ltd #241B.R Hills Road Nagavalli village Chamaraja Nagar | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
241 | CHN-A-72 | M/s Vodafone Essar South Ltd #56 Madapura Village Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
242 | CHN-A-73 | M/s Vodafone Essar South Ltd #347 Khata #467 Badanaguppe Village Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
243 | CHN-A-74 | M/s Vodafone Essar South Ltd #873 Khata #670 Amuchhavadi Haradana Halli Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
244 | CHN-A-75 | M/s Vodafone Essar South Ltd #169/1 Terakanambi village Gundu;pet Taluk Chamaraja Nagar | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
245 | CHN-A-76 | M/s Vodafone Essar South Ltd #73 Kabba Halli Village & Post Begur Hobli Gundulpet Taluk Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
246 | CHN-A-77 | M/s Vodafone Essar South Ltd property no.7/2,Thellanur village ,Kollegal Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
247 | CHN-A-78 | M/s Vodafone Essar South Ltd #265/1,Katha No.21,Doddindavadi Village,palya Hobli,Kollegal | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
248 | CHN-A-79 | M/s Vodafone Essar South Ltd Sy No.12,Muncipal No.2040/11,Near Ramaswamy Layout,Kempanpalya Road,Kollegal | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
249 | CHN-A-80 | M/s Vodafone Essar South Ltd #144/1, Khata #418 ,Huthur Village,Lokkanahalli Hobli, Kollegal | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
250 | CHN-A-81 | M/s Vodafone Essar South Ltd #177/2,Ekkadahalli Village, Kollegal Taluk Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
251 | CHN-A-82 | M/s Vodafone Essar South Ltd #129,MR no.18/83-84,Rural High School, Palya Kollegal Taluk Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
252 | CHN-A-83 | M/s Vodafone Essar South Ltd #403,Ajjipura Village,Kollegal Taluk , Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
253 | CHN-A-84 | M/s Vodafone Essar South Ltd #K2,No.851/K2,No.852, Cowdahalli Village, kollegal Taluk Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
254 | CHN-A-85 | M/s Vodafone Essar South Ltd # 255/6, Shivaratri Rajendranagar , Ramapura Chamaraja Nagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
255 | CHN-A-86 | M/s Vodafone Essar South Ltd,Palace Area ,Near Palace of Dalalama PO Tibetian settlement ,Odeyarapalya, Kollegal Taluk | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
256 | CHN-A-87 | M/s Vodafone Essar South Ltd,Near water Tank , Tibetian settlement ,Odeyarapalya, Kollegal Taluk | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
257 | CHN-A-88 | M/s Vodafone Essar South Ltd,Assmt No.1677/A,Suvarnavati market main Road ,Mumbali, Yalandur Taluk, Chamarajanagar District | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
258 | CHN-A-89 | M/s Vodafone Essar South Ltd #22,NH- 209, Maddur Village,Yelandur Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
259 | CHN-A-90 | M/s GTL Infrastucture Ltd, No.67/1,Katha No.533,Nitre Village,Begur Hobli, Gundlupet Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
260 | CHN-A-91 | M/s GTL Infrastructure Ltd, No.2,site no.C1/1,khaneshumari no.435,Ass.No.436,Padagur, Gundlupet Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
261 | CHN-A-92 | M/s GTL Infrastructure Ltd, Sy.No.186/1,Khata No.137,138,139,Bheemanabeedu,Gundlupet Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
262 | CHN-A-93 | M/s Aircel Ltd,panchayat no.359A/B & 359B 13/303B, SriRanga Complex,Near Town,panchayathi post , Yalandur Tq , | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
263 | CHN-A-94 | M/s Aircel Ltd,Door #7/511 Lions community Hall Road Basawesvara Nagar Kollegal Southern Extension chamarajanagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
264 | CHN-A-95 | M/s Aircel Ltd,Site #922/C-845/C Gaali Pura Main road G K Mohalla chamarajanagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
265 | CHN-A-96 | M/s Indus Towers Ltd Site # 15/24 Ahamed Nagar Mohalla #197 Ward #5 Gaalipura Layout Gundalpet Road Near RTO Office ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
266 | CHN-A-97 | M/s Indus Towers Ltd Asst # 517/539 Bisalavaadi village ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
267 | CHN-A-98 | M/s Indus Towers Ltd Asst # 242/1 & 242/2 Jannur Village ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
268 | CHN-A-99 | M/s Indus Towers Ltd Asst # 621/1A Dr Ambedkar Road RaamaSamudra ChamarajNagar. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
269 | CHN-A-100 | M/s Indus Towers Ltd Plot #1203 beside Ambedkar Bhavan ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
270 | CHN-A-101 | M/s Indus Towers Ltd Site #366/2 Udigaala village Harave Hobli ChamarajNagar. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
271 | CHN-A-102 | M/s Indus Towers Ltd Site #116/2 Khata #24 Kerehalli Village MukadaHalli Post Harave Hobli ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
272 | CHN-A-103 | M/s Indus Towers Ltd Site #83/A Khata #2806/2806 KHB colony B-Division ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
273 | CHN-A-104 | M/s Indus Towers Ltd Site #33/2/ Banaligere Hasadana Halli Post ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
274 | CHN-A-105 | M/s Indus Towers Ltd Site #7 Kottalavaadi Village ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
275 | CHN-A-106 | M/s Indus Towers Ltd Site #1143 Honnur Village & Post Kasaba Hobli Yalandur Taluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
276 | CHN-A-107 | M/s Indus Towers Ltd Site #784/A Kollegal Taluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
277 | CHN-A-108 | M/s Indus Towers Ltd # 445/1&2 Harave Village ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
278 | CHN-A-109 | M/s Indus Towers Ltd # 179 Mukkahalli Village Kasaba Hobli Gundalpet Chamarajanagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
279 | CHN-A-110 | M/s Indus Towers Ltd KondeGowda S/o AppeGowda SamaHalli Village Gundalpet Taluk ChamarajNagar. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
280 | CHN-A-111 | M/s Indus Towers Ltd Site # 142/A Saragur Village & post Kollegala Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
281 | CHN-A-112 | M/s Indus Towers Ltd Site # 127/2 Ikkadalli Village Paalya Hobli Kollegal Taluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
282 | CHN-A-113 | M/s Indus Towers Ltd Site #32/A1 Chikkaloor Village Paalya Hobli Kollegala Taaluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
283 | CHN-A-114 | M/s Indus Towers Ltd Site #22/A1 Ellamma Village Hanoor Hobli Kollegala TalukChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
284 | CHN-A-115 | M/s Indus Towers Ltd Site #656/4/3, 657/4/4 ,658/4/5 Kungahalli village Kollegaal Hobli ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
285 | CHN-A-116 | M/s Wireless TT Info Services Ltd #242/8 Mangala Village & Post Hanoor Hobli Kollegaal Taluk Holashi gudda Chamarajnagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
286 | CHN-A-117 | M/s Wireless TT Info Services Ltd #25/2A Alur Village , Chandakavaadi Hobli Chamrajnagar Taluk & District | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
287 | CHN-A-118 | M/s Wireless TT Info Services Ltd Site #306/G1H1, Khata #351/2-148 Nataraja Theatre Kongara Halli Village Kollegal Taluk Chamrajnagar District | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
288 | CHN-A-119 | M/s Indus Towers Ltd Site #574/660 KungaHalli Village Kangala post Gundalpet ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
289 | CHN-A-120 | M/s Indus Towers Ltd #660 Near bus stop Hangala Hobli Shivapura Post & village Gundulpet Taluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
290 | CHN-A-121 | M/s Indus Towers Ltd # 21/2 Beemana Bidu village Kasaba Hobli Gundulpet Taluk Chamarajanagar | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
291 | CHN-A-122 | M/s Indus Towers Ltd Site #99 Siddaiyana Pura village Hogala Hobli Kaali Guddana Halli Gundulpet Taluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
292 | CHN-A-123 | M/s Indus Towers Ltd Site #246/2 Kodasaage village Gundulpet Taluk ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
293 | CHN-A-124 | M/s GTL Infrstructure Ltd,No656/57,Kungahalli Chamarajanagar Tq | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
294 | CHN-A-125 | M/s GTL Infrstructure Ltd,No678/1,Sattegala village,Kollegala Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
295 | CHN-A-126 | M/s MSPC(Kollegala & Yalandur),Mellahalli village,Yalandur Taluk, ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
296 | CHN-A-127 | M/s MSPC(Chamarajanagar), Bommarahalli, Chamarajanagar | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
297 | CHN-A-128 | M/s MSPC (Gundlepet),Horeyala villlage,Gundlepet Tq | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
298 | CHN-A-129 | M/s Wireless TT Info Services ltd, No2, Industrial Area, Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
299 | CHN-A-130 | M/s Wireless TT Info Services ltd,No328,Matada Beedi, Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
300 | CHN-A-131 | M/s Wireless TT Info Services ltd,No 1111/1068, Next to Khema Hospital,Chamarajanagar Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
301 | CHN-A-132 | M/s JSS Womens College, Kollegal Taluk | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
302 | CHN-A-133 | M/s Indus Towers Ltd , No 34/1,Bendaravadi village, Kasaba hobli, ChamarajNagar. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
303 | CHN-A-134 | M/s Indus Towers Ltd , No 459,Kuttanur village, kasaba hobli, Gundlupet Tq. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
304 | CHN-A-135 | M/s Indus Towers Ltd , No 82/1, hebbasur village, Near Govt School, Chandakavadi, ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
305 | CHN-A-136 | M/s Indus Towers Ltd , No 348/2, Badanguppe village,ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
306 | CHN-A-137 | M/s Indus Towers Ltd , No 39, SPO farms, Somvar Pete village, ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
307 | CHN-A-138 | M/s Indus Towers Ltd ,Koudahalli, Ramapura road, Kollegal Taluk , ChamarajNagar. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
308 | CHN-A-139 | M/s Indus Towers Ltd , Near Reliance Towers,Mullur village, Kollegal Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
309 | CHN-A-140 | M/s Indus Towers Ltd, No 27,Ajji Pura, Kollegal Taluk | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
310 | CHN-A-141 | M/s Indus Towers Ltd , No 27/7, Chincholi village, Mangala Post,Hannur Hobli, Kollegal | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
311 | CHN-A-142 | M/s Indus Towers Ltd , No 404, Near Ganesha Temple, Ambedkar road, Kollegal | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
312 | CHN-A-143 | M/s Indus Towers Ltd ,Surallipalya village, Kollegal Tq . | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
313 | CHN-A-144 | M/s Indus Towers Ltd , No 92/B, Chandaganahalli village, Ramapura Hobli,Kollegala Tq, | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
314 | CHN-A-145 | M/s Indus Towers Ltd , No 653 , Mangala village, Kollegal Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
315 | CHN-A-146 | M/s Indus Towers Ltd , No 7/2, Tellanur village, Kollegal Tq. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
316 | CHN-A-147 | M/s Indus Towers Ltd , No3/173, Doddanayakana Beedi, Kaveri road, Kollegal Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
317 | CHN-A-148 | M/s Indus Towers Ltd , Kestur village, Yalandur Taluk, Kollegal Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
318 | CHN-A-149 | M/s Indus Towers Ltd ,No 72/73, Main road, Lokkanahalli village , Kollegal Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
319 | CHN-A-150 | M/s Indus Towers Ltd, No 118, PG Palaya village, Lokkanahalli Holbli, Kollegal Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
320 | CHN-A-151 | M/s Indus Towers Ltd , No 247/2, Shagya village, Hannur Hobli, Kollegal Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
321 | CHN-A-152 | M/s Cauvery Comforts, Vijayapura, Calicut Road, Gundlupete Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
322 | CHN-A-153 | M/s Indus Towers Ltd, No.2/29, Madhuvanahally, Kollegala | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
323 | CHN-A-154 | M/s Indus Towers Ltd , No.218/A3B1,Hanur Hobli Kollegala | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
324 | CHN-A-155 | M/s Indus Towers Ltd, No. 4-131/2, Bandalli Village , Kollegala | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
325 | CHN-A-156 | M/s Indus Towers Ltd, No.1238/1061, Singanallur Village, Kollegala | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
326 | CHN-A-157 | M/s Indus Towers Ltd,No. 974 ,Terakanambi village , Gundlupete | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
327 | CHN-A-158 | M/s Indus Towers Ltd, No. 37, Gollya Village, Kollegala | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
328 | CHN-A-159 | M/s Aircel Ltd, No.436/1, Thondawadi Village, Gundlupete | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
329 | CHN-A-160 | M/s Wireless TT Info Services Ltd, No.5,Asst No.A1001/4,Gundlupete Road, Chamarajanagara | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
330 | CHN-A-161 | M/s Indus Towers Ltd, Singanapura, Santhemarahally Hobli , Kannagala Post,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
331 | CHN-A-162 | M/s Indus Towers Ltd, No.214,Desavalli Village,Santhemarahally Post,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
332 | CHN-A-163 | M/s Indus Towers Ltd, No.231/4C2,Yalakkur, Heggawadi Post,Kasaba Hobli,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
333 | CHN-A-164 | M/s Indus Towers Ltd, Moodanakudu Villaga & Post,Harave Village,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
334 | CHN-A-165 | M/s Indus Towers Ltd, No.221/2,Veeranapura, N.D.PuraVillage & Post ,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
335 | CHN-A-166 | M/s Indus Towers Ltd, No.714,Asst No.706,Milk Diary Road, Chanadakavadi Village ,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
336 | CHN-A-167 | M/s Indus Towers Ltd, No.20/1,Manchagundipura, Arakalavadi,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
337 | CHN-A-168 | M/s Vijayalaxmi Nursing Home,No.7/449A,3rd Cross,Southern Extension,Kollegala | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
338 | CHN-A-169 | M/s Indus Towers Ltd,Bendagalli village,Heggawadi post ,Gundlupte Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
339 | CHN-A-170 | M/s Indus Towers Ltd,Bommalapura post & Village,Gundlupte Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
340 | CHN-A-171 | M/s Indus Towers Ltd,Hoordalli village,Terakanambi post ,Gundlupte Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
341 | CHN-A-172 | M/s Indus Towers Ltd,Kelsurpura village,Shivapura post ,Gundlupte Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
342 | CHN-A-173 | M/s Indus Towers Ltd,Kiligere village,Chikkathipura post ,Gundlupte Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
343 | CHN-A-174 | M/s Indus Towers Ltd,Bettalli village,Gundlupte Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
344 | CHN-A-175 | M/s Indus Towers Ltd,Malangi village & post,Tagarapura ,Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
345 | CHN-A-176 | M/s Indus Towers Ltd,Kinkanahally village ,Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
346 | CHN-A-177 | M/s Indus Towers Ltd,Thimmarajipura village,Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
347 | CHN-A-178 | M/s Indus Towers Ltd,Tagarapura village,Chilakavadi post,Tagarapura ,Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
348 | CHN-A-179 | M/s Indus Towers Ltd,No.177,Kurati Hosur Village,Ramapura Hobli,Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
349 | CHN-A-180 | M/s Indus Towers Ltd,No.4/7,Andipalya Village,Lokkanahally Hobli,Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
350 | CHN-A-181 | M/s Indus Towers Ltd,No.94/2,Kelsur Village & post,Terakanambi Hobli,Gundlupete Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
351 | CHN-A-182 | M/s Indus Towers Ltd,No.2,Yadavanahally Village,Variyala Post, Begur Hobli,Gundlupete Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
352 | CHN-A-183 | M/s Indus Towers Ltd,No.61,Nitre Village,Begur Hobli,Gundlupete Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
353 | CHN-A-184 | M/s Indus Towers Ltd,No.726,Ganaganur Village &post,Santhemarahally, Chamarajanagara Tq, | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
354 | CHN-A-185 | M/s Indus Towers Ltd,No99/A,Mariyala Village,Kasaba Hobli,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
355 | CHN-A-186 | M/s Indus Towers Ltd,No.132/4A,Shivapura Village & post,Kasaba Hobli,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
356 | CHN-A-187 | M/s CSI Rural Hospital, Mangala Village, Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
357 | CHN-A-188 | M/s Indus Towers Ltd,No.3/1,Kuder Village,Santhemarahally Hobli,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
358 | CHN-A-189 | M/s Wireless TT InfoServices Ltd, Old Police station Road,Ramasamudra ,Chamarajanagara | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
359 | CHN-A-190 | The Executive Officer,Male Mahadeshwara Temple,Male Mahadeshwara Hills ,Kollegala Tq | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
360 | CHN-A-191 | The BMC,M/s Udigala Milk Producers Co-operative Society,Udigala Village,Chamarajanagara | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
361 | CHN-A-192 | The BMC,M/s Kotalavadi Milk Producers Co-operative Society,Kothalavadi Village,Chamarajanagara | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
362 | CHN-A-193 | The BMC,M/s Yaraganahally Milk Producers Co-operative Society,Yaraganahally Village,Chamarajanagara | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
363 | CHN-A-194 | M/s Indus Towers Ltd, No.23/1,Khata No.315 &335,Bannithalpura Village & Post,Kasaba Hobli, Gundlupete | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
364 | CHN-A-195 | M/s Viom Networks Ltd,No.163/1,Khata No.128-1,Chamarajanagara Main Road, Madapura Village& post ,Santhemarahally Hobli,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
365 | CHN-A-196 | M/s Viom Networks Ltd,No.202/1A2,Vijayapura Village,Kanakadasa Badavane,Kasaba Hobli,Gundlupete Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
366 | CHN-A-197 | M/s Viom Networks Ltd,No.205,Vijayapura, Terakanambi, Gundlupete (Near Sunkada Katte) | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
367 | CHN-A-198 | M/s Viom Networks Ltd,No.423,old KNP Road,Chamarajanagara | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
368 | CHN-A-199 | M/s Viom Networks Ltd,No.77/2,Ward No:23,Panjanahally Village,Kasaba Hobli,Gundlupete | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
369 | CHN-A-200 | The secretory. Sri. Male mahadeshwar temple development Authority,Shiva Darshini Athithi Gruha,M.M.Hills, Kollegala Tq | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
370 | CHN-A-201 | Assisstant Executive Officer,PWD Sub Division,,Male Mahadeshwara Temple,VVIP Guest House,M.M.Hills, Kollegala Tq | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
371 | CHN-A-202 | M/s Viom Networks Ltd,Asst No.79/73,Khata No.16/154,Railway Layout,Sampige Road,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
372 | CHN-A-203 | M/s Viom Networks Ltd,No.190,Near Forest Depot,Galipura Extension,Chamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
373 | CHN-A-204 | M/s Viom Networks Ltd,Asst No.2304,Site No.9, KEB west layout, Double Road,Chamarajanagara. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
374 | CHN-A-205 | M/s Viom Networks Ltd,No.384,G.P.Mallappapura,Bangalore-Malavalli Road,Kollegala | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
375 | CHN-A-206 | M/s Bettadapra Milk Co-operative Society, Chamarajanagara | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
376 | CHN-A-207 | M/s Marthally Milk Co-operative Society ,Kollegala | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
377 | CHN-A-208 | M/s Nalloor Milk Co-operative Society ,Kollegala | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
378 | CHN-A-209 | M/s Voddaradoddy Milk Co-operative Society ,Kollegala | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
379 | CHN-A-210 | M/s Vyshampalya Milk Co-operative Society ,Kollegala | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
380 | CHN-A-211 | M/s Sri Srinivasa Fuel Station, R.S.Doddi , Hanur, Kollegala Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
381 | CHN-A-212 | M/s Mysore -Chamarajanagara District Co-operative Societies Union, Bandally BMC Centre, Bandally Village, Kollegala Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
382 | CHN-A-213 | M/s Mysore -Chamarajanagara District Co-operative Societies Union, Hangala BMC Centre, Hangala Village,GundlupeteTq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
383 | CHN-A-214 | M/s Mysore -Chamarajanagara District Co-operative Societies Union, Goplalapura BMC Centre, Gopalapura Village, Gundlupete Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
384 | CHN-A-215 | M/s Mysore -Chamarajanagara District Co-operative Societies Union, Kalpura BMC Centre,Kalpura Village,Gundlupete Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
385 | CHN-A-216 | M/s Mysore -Chamarajanagara District Co-operative Societies Union, Doddatahppur, BMC Centre, Doddathapur Village, Gundlupete Tq | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
386 | CHN-A-217 | M/s Yepiyes Xclusive ,Raymonds Showroom, Ambedkar Road, Kollegala | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
387 | CHN-A-218 | M/S Indus tower Ltd, Behind Gurumalleshwara Mata,Kalpura village,Harave Hobli,C Nagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
388 | CHN-A-219 | M/S Viom Networks Ltd, Santhemaralli Village,Chaamarajanagara | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
389 | CHN-A-220 | M/S Sri Madegowda Fuel Station, HPCL Dealer, Kollegala Tq, Chamarajanagara DT. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
390 | CHN-A-221 | 1x20KVA DG set at Sri M.C.Channamallappa & Sons, Kollegala | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
391 | CHN-A-222 | M/s Hindustan Petrolium Corporation Ltd, New RO, Chamarajanagar Nanjangud road, Chn | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
392 | CHN-A-223 | 1x25KVA DG set at M/s Laxmi Narasimhaswamy fuel station, Kollegal Tq | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
393 | CHN-A-224 | M/s N. Yacoob and Bros. Mysore-Ooty road Gundlupet- 571111. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
394 | CHN-A-225 | Sri. A.R. Nagendrashetty, M/s Renusree Petrol bunk and service station, No:204, Kollegal- Chamarajanagar road Yelandur. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
395 | CHN-A-226 | Sri. U.G Renukaprasad, Sri. Gurumalleshwar Service station, Terakanambi village, gundlupet taluk, chamarajanagar district. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
396 | CHN-A-227 | M/s GTL infrastructure Ltd., Sy No.40/5, Bommanahalli village, Gundlupet Taluk, Chamarajanagar district. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
397 | CHN-A-228 | M/ s Reliance JIO Infocom Ltd., No 23/18, 2nd Cross, near fire brigade office, Bramaramba Extn, Chamarajanagar taluk and district. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
398 | CHN-A-229 | The Executive Engineer, Public work department, at court road, chamarajanagar taluk and district. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
399 | CHN-A-230 | M/s IDEA CELLULAR LIMITED, SY NO.3, Airtel tower, Mysore-ooty road, Begur, Gundlupet taluk, Chamarajanagar distrcit. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
400 | CHN-A-231 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., MADAHALLI VILLAGE, GUNDLUPET TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
401 | CHN-A-232 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., V.CHATHAR VILLAGE, CHAMARAJANAGAR TALUK AND DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
402 | CHN-A-233 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., AJJIPURA VILLAGE,KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
403 | CHN-A-234 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., HANUR VILLAGE,KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
404 | CHN-A-235 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., LOKKANAHALLI VILLAGE,KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
405 | CHN-A-236 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., BYRANATHA VILLAGE, KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
406 | CHN-A-237 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., UDDANUR VILLAGE, KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
407 | CHN-A-238 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., ANKAHALLI VILLAGE, GUNDLUPET TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
408 | CHN-A-239 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., MOODNAKODU VILLAGE, CHAMARAJANAGAR TALUK AND DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
409 | CHN-A-240 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., BETTAHALLI VILLAGE, GUNDLUPET TALUK,CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
410 | CHN-A-241 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., ARALIKATTE VILLAGE, CHAMARAJANAGAR TALUK AND DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
411 | CHN-A-242 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., AMBIKAPURA VILLAGE, KOLLEGALA TALUK, CHAMARAJANAGAR DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
412 | CHN-A-243 | THE MYSORE- CHAMARAJANAGAR DISTRICT, CO-OPERATIVE MILK PRODUCERS SOCIETIES UNION LTD., AMACHAVADI VILLAGE, CHAMARAJANAGAR TALUK AND DISTRICT | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
413 | CHN-A-244 | Smt. M.T.Asharani, M/s. S.L.V Fuel, Hieikate village, Begur hobli, Gundlupet taluk and Chamarajanagar district. | [20 empty] | DG | 1 | 25 | 25 | CONSUMER | AEI
414 | CHN-A-245 | Sri. R. Siddamurthi, M/s. Rajashree Fuels, Indian Oil Corporation Ltd Dealers, No 161 D( NH-212, Mysore road) Mudigundam village, Kollegala taluk, Chamarajanagar district. | [20 empty] | DG | 1 | 15 | 15 | CONSUMER | AEI
415 | CHN-A-246 | DG set installed at R.S.Doddi milk producers Co-operative Society in favour of The Managing Director, Chamarajanagar dist. Co-Operative Milk Producers Societies Union Ltd., Kuderu village, Chamarajanagar taluk & district. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
416 | CHN-A-247 | DG set installed at Harave milk producers Co-operative Society in favour of The Managing Director, Chamarajanagar dist. Co-Operative Milk Producers Societies Union Ltd., Kuderu village, Chamarajanagar taluk & district. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
417 | CHN-A-248 | DG set installed at Panyadahundi milk producers Co-operative Society in favour of The Managing Director, Chamarajanagar dist. Co-Operative Milk Producers Societies Union Ltd., Kuderu village, Chamarajanagar taluk & district. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
418 | CHN-A-249 | DG set installed at Badanaguppe milk producers Co-operative Society in favour of The Managing Director, Chamarajanagar dist. Co-Operative Milk Producers Societies Union Ltd., Kuderu village, Chamarajanagar taluk & district. | [20 empty] | DG | 1 | 20 | 20 | CONSUMER | AEI
[5 empty] | 0 |  | 0 |  | 0 | 76 |  | 13740 | 0 | 0 | 1 | 1 | 0 | 1 | 5 | 0 | 4 | 0 | 0 | 361 | 11013.5 | 11013.5